ELECTRICAL POWER INTERRUPTION NOTICE FOR

Cancer Center, TU3, TU4, West Garage, and 550 Harrison

TO:          
All Departments with Space in Cancer Center, TU3, TU4, West Garage and 550 Harrison
SUBJECT:  
Electrical Power Interruption Notice beginning Saturday September 17, 2022 at 5:00 am until Wednesday September 21, 2022. 
DATE:     
September 13, 2022

On Monday, September 19, 2022 National Grid is going to be de-energizing feeder 59 to allow for work to be done in another customer’s building. The buildings listed below show dates when they will be affected. 
Cancer Center
This is what you can expect to happen between 5:00 am and 6:00 am Saturday, September 17, 2022:
Emergency Power – Red outlets, hall and office lighting with red switches along with emergency powered equipment will blink at roughly 5:00 am and later that morning once a normal power source is restored. 
Normal Power – Portions of the buildings normal power lighting, outlets and equipment will see a loss of power at roughly 5:00 am for up to 5 minutes while switching is being done. Switching will be complete before 6:00 am. 
Sensitive patient care equipment should be plugged into red outlets. Any non-critical office equipment or computers should be turned off in advance of this outage.

West Garage
Building will be on emergency power only starting Monday, September 19, 2022 until Wednesday September 21, 2022 until work is complete. 
The garage will have limited lighting in the main areas and stairwells. 

All elevators will be out of operation for the duration of this outage.
550 Harrison
Normal Power – All normal power lighting, outlets, and equipment will see a loss of power when National Grid does there switching some time Monday morning.  Loss of power will be a blip, similar to a National Grid power failure.
TU3 and TU4
Switching to be done by OMH in the morning on Friday, September 16, 2022. 
Normal Power – All normal power lighting, outlets, and equipment will see a loss of power while switching is being done.  

The Main Hospital, East Wing, East Tower, and other Campus buildings will not be affected by this outage.

If you have any questions or require clarification of this notice, please contact Aaron Petty, (315)-956-9056.

