ELECTRICAL POWER INTERUPTION NOTICE FOR

Downtown Campus Buildings

TO:          	All Departments with Space in East Wing, East Tower, UH, WH, WHA, Setnor, NAB, Medical Library, Jacobsen, CAB, Clark, CWB/ROC

SUBJECT:  	Electrical Power Interruption Notice for Downtown Campus Buildings Saturday,

October 15, 2022 from 5 to 6 am.

DATE:     	October 12, 2022

On Saturday October 15, 2022 between the hours of 5 to 6 am there will be a power interruption 1-10 seconds to the buildings listed below while we do switching on one of our National Grid feeders.

- East Wing (Will check with OR’s on 5 east before we begin.) Cases should be in 4, 6, 7, 9, and 13 while switching is taking place.

- East Tower

- UH (Will check with 3 North OR’s before we begin.)

- Weiskotten Hall

- Weiskotten Hall Addition

- Setnor

- NAB

- Medical library

- Jacobsen

- CAB

- Clark

- CWB/ROC

This is what you can expect to happen between 5:00 am to 6:00 am.

An overhead page will be sent out prior to switching and once switching is completed.

- All normal power will see a power interruption for 1-10 seconds while we transfer power.

- Emergency power will see a blink while going to generator power and then when power is transferred back to normal power. This is similar to our monthly generator testing.

- All sensitive equipment should be shut down during the switching.

All other campus building will not be affected by this work.

If you have any questions or require clarification of this notice, please contact Aaron Petty at 315-956-9056.