
ELECTRICAL POWER INTERRUPTION NOTICE FOR
Cancer Center, TU34, TU4, West Garage and 550 Harrison
TO:          
All Departments with Space in Cancer Center, TU3, TU4, West Garage and 550 Harrison
SUBJECT:  
Electrical Power Interruption Notice for Friday December 9, 2022 at 5 AM. 
DATE:     
December 7, 2022

On Friday December 9, 2022 National Grid is going to be de-energizing feeder 59 to allow for work to be done in another customers building. The buildings listed below will be experiencing a power outage, this outage will simulate what would happen if we were to have a National Grid power outage on this feeder. 
This is what you can expect to happen between 5:00 am and 6:00 am Friday December 9, 2022:
Cancer Center

Emergency Power – Red outlets, hall and office lighting with red switches along with emergency powered equipment will blink at roughly 5:30 am and later the day once power is restored. 
Normal Power – Portions of the buildings normal power lighting, outlets and equipment will see a loss of power at roughly 5:30 am for up to 5 minutes while switching is being done. Switching should be complete by around 6:00 am. 
Sensitive patient care equipment should be plugged into red outlets. Any non-critical office equipment or computers should be turned off in advance of this outage.
West Garage
Building will be on emergency power only starting Friday December 9, 2022 at 3:00 pm until Wednesday December 14, 2022 at roughly 4:00 pm once work is complete. 

All elevators will be out of operation for the duration of this outage
550 Harrison
Normal Power – All normal power lighting, outlets and equipment will see a loss of power when National Grid does there switching some time Friday December 9, 2022.
TU3 and TU4
Switching to be done by OMH. 
Normal Power – All normal power lighting, outlets and equipment will see a loss of power while switching is being done on Thursday December 8, 2022 between 7:30 and 8:00 am. 

The main hospital, East Wing, East Tower and other Campus buildings will not be affected by this outage.

If you have any questions or require clarification of this notice, please contact Aaron Petty at extension 4-7386.


