ELECTRICAL POWER INTERRUPTION NOTICE FOR

Downtown Campus Buildings

TO: 		All Departments with Space in UH, CWB/ROC

SUBJECT:    Electrical Power Interruption Notice for Downtown Campus

Buildings Saturday, Jan 31, 2026, from 4:00am – 6:00am

DATE: 	 January 16, 2026

On Saturday, January 31, 2026, between the hours of 4:00am – 6:00am there will be a power interruption 1-10 seconds to the buildings listed below while we do switch on one of our National Grid feeders.

- UH (Will check with 3 North OR’s before we begin)

- CWB/ROC

This is what you can expect to happen between 4:00am to 6:00am.

An overhead page will be sent out prior to switching and once switching is completed.

- All normal power will see a power interruption for 1-10 seconds while we transfer power

- Emergency power will see a blink while going to generator power and then when power is transferred back to normal power. This is similar to our monthly generator testing.

- All sensitive equipment should be shut down during the switching.

All other campus buildings will not be affected by this work.

If you have any questions or require clarification of this notice, please contact Marc Dingle (680) 323-1819.