On May 19th in the East Wing Tower on floors 7,8,9,10,11,12 and PH there will be an Electrical Power outage to allow electricians to add breakers to existing electrical panels.  The Outage will be performed in two (2) phases.  Phase 0ne (1) will start at 10:00 AM. The first phase will be the normal power and the circuit identification will be any of the following found on outlet covers: NL-6B2, NL-7B2, NL-7B3, NL-8B2, NL-8B2-1, NL-8B2-2, NL-9B2, NL9B2-1, NL-9B2-2, NL-10B2, NL-10B2-1, NL10B2-2, NL-11B2, NL-11B2-1, NL-11B2-2, NL-11B2-3, NL-11B2-4, NL-11B2-5, NL-12B2, NL-11B2-1, NL-12B2-2, NL-PHB2

If you have any questions or concerns please feel free to contact John Ders at 315-243-5974 or Aaron Petty at 315-956-9056

The following are the rooms that will be affected during the first phase of the electrical outage.

No Emergency Power will be affected during the first phase of the electrical outage.

East Wing loading dock area, E6700, E6701, E6702, E6703, E6704, E6705, Exterior Site GFI’s, Elevator Pit, Elevator Lobby, Traffic Island, EF-38 Elevator Machine Room, E4713 Telecom Room, Time clock, Siemens Control Transformer, TX-6-1, CUH-6-1 E6702

Teledata Control Room E7404B, AUH 16C Supply & Return, Security Closet, E7400, E7401, E7404, E7402, E7402A, 7402C, E7403, E7404, E7405, E7405A, E7405B, E7406, E7407, E7407A, E7407B, E7409, E7900, E7901, BF-1, AHV 16C Condensate Pump, Verizon, Decontamination Room Pasteurizer, BF-1, Tim Horton Freezers, Tim Horton Coolers, Tim Horton Lights, Tim Horton Cooler fans,

E8400, E8401,  E8401E, E8403, E8405A,E8405B, E8406, E8406A, E8407A, E8407C, E8407D, E8407E, E8407F, E8408, E8409, E8417, E8600, E8600C, E8600G, E8601, E8601, E8601B, E8602, E8603, E8603A, E8604, E8604A, E8606, E8606A, E8607, E8607A,  E8607D, E8607E, E8608, E8608A, E8609,  E8609A, E8610, E8610A, E8611, E8612, E8612A, E8614, E8615, E8615A, E8616, E8616A, E8617, E8619, E8618, E8618A, E8619, E8619A, E8621, E8623, E8623A, E8624, E8625, E8625A, E8626, E8627, E8627A,  E8629, E8630,  E8630A, E8631, E8632, E8632A,

E9400, E9400B, E9401, E9401E, E9402, E9403, E9404, E9405, E9405B, E9406, E9406A, E9406B, E9407, E9407A, E9407B, E9407C, E9407D, E9408, E9408C, E9409, E9410, E9411, E9417, E9600, E9600E, E9602, E9603, E9603A, E9604, E9604A, E9605, E9605A, E9606, E9607, E9607A, E9608, E9608A, E9609, E9609A, E9610, E9610A, E9613, E9613A, E9614, E9614A, E9615,  E9615A, E9616, E9616A, E9617, E9618,  E9618A, E9619, E9619A, E9621, E9621A, E09623, E9623A, E9624, E9625, E9625A, E9626, E9627,E9627A,  E9628, E9628A, E9629, E9629A, E9630, E9631,

E10400, E10400B, E10401, E10403, E10405A, E10405B, E10406, E10407A, E10407B, E10407C, E10407D, E10409, E10417, E10600, E10601, E10602, E10603, E10604, E10605, E10606, E10607, E10608, E10609, E10610A, E10612, E10612A, E10614, E10615, E10616, E10617, E10618, E10619, E10620, E10622, E10628, E10700, E10701, E10721A, E10723, E10724, E10725, E10726, E10727, E10728, E10729, E10730,  E10731, E10732, E10732A, E10733, E10734,

E11101, E11400, E11401, E11401E, E11493, E11405A, 11405B, E11406, E11406A, E11407A, E11407B, E11407C, E11407D, E11407E, E11407F, E11407G, E11408, E11409, E11410, E11417, E11418, E11419, E11421, E11422, E11420, E11422, E11600, E11600A, E11601, E11601A, E11603,   E11604, E11604A, E11610, E11610A, 11610B, E11612, E11612A, E11612A, 11612B, E11614, E11614A, E11615, E11615A, E11616, E11616A, E11618, E11618A, E11619, E11619A, E11620, E11621, E11621A, E11622, E11623, E11624, E11625, E11625A, E11626, E11627, E11627A, E11629, E11630, E11630A, E11631, E11632, 11632A, Interactive Zone, Performance Space, Quit Space, Café’ Seat, Solarium Fl BX 12th Flr, Tim Horton Area

E12400, E12401, E12403, E12405A, E12405B, E12406, E12406A, E12407A, E12407B, E12409, E12409A, E12409B, E12409C, E12409D, E12409E, E12417, E12417A, E12417B, E12417C, E12417D, E12417E, E12420, E12422, E12423, E12424, E12424B, E12424C, E12601, E12601A, E12602, E12603, E12603A, E12604, E12604A, E12614, E12614A, E12615, E12616, E12617, E12618, E12619, E12621, E12622, E12623, E12624, E12625, E12626, E12627, E12628, E12629, E12630, E12632, E12633, E12600, E12600A,

Penthouse: Recpt. Upper Elevator, Upper Rm/Outside, UH3, UH4, UH5, UH11,  AC-1, Recpt, CH-2, Camera Recpt Outside Tunnel