ELECTRICAL POWER INTERRUPTION NOTICE FOR
THE CANCER CENTER
TO:          


All Departments with Space in the Cancer Center
SUBJECT:  


Electrical Power Interruption Notice 
NOTICE DATE:     

November 16, 2023
INTERRUPTION DATE: 
November 20, 2023

On Monday, November 20th, between the hours of 5:00 am and 5:15 am there will be an electrical power interruption to the Cancer Center while we switch from Temple 59 to Temple 48.  National Grid has completed their scheduled maintenance from the switching we did on Monday 11/13/23, and things can now be restored to normal. 
All building services will see the power interruption during switching. 
This is what you can expect to happen:
Switching for this will occur between the hours of 5:00am and 5:15am. 

· Normal power will see a brief power outage while we switch to the alternate feed.
· Emergency power will be available while we conduct switching.
All sensitive equipment should be powered off during the switching of power. 
Hospital and other Campus buildings will not be affected by this repair work.

If you have any questions or require clarification of this notice, please contact Stu Hatzinger at (315) 920-2584.
