TO:
All East Wing Nursing Personnel

DATE:
April 2021
SUBJECT:
Monthly Testing of 5 East, 3 East Radiology, 3 West Radiology and Gamma Knife Nurse Call - "Code Blue" System
The next monthly test is scheduled for Wednesday, April 21,2021.
To comply with current regulations, the Physical Plant Electronics personnel will be conducting a monthly test of the "Code Blue" portion of the nurse call system in 5 East, 3 East Radiology, 3 West Radiology, and Gamma Knife.  

This test will affect the code blue for the nurse call for the areas listed above.
 “CODE BLUE” TEST PROCEDURE:
1. Physical Plant personnel will report to nurses’ station to announce that they will be conducting "Code Blue" testing and to see if there are any rooms that have special restrictions.  
2. Plant personnel will then proceed with a test - starting with first room in the unit and proceeding down the hall until finished with the unit. 
3.  When the unit is finished, notification will be given to the appropriate nursing staff.

NOTE:
To comply with current regulations, this testing must be done.  Any rooms that cannot be tested at this time must be noted, along with reason why and an attempt will be made to test at a later date.

If you have any questions or concerns regarding the test, please feel free to contact Aaron Petty, Electrical Facilities Manager, Physical Plant at extension 47386.

