HILL-ROM NURSE CALL INTERRUPTION NOTICE FOR UNIVERSITY HOSPITAL DOWNTOWN CAMPUS

TO:          	All Departments in University Hospital Downtown with Hill-Rom Nurse Call System

FROM:		Larry Blanchard

Assistant Director of

Facilities

SUBJECT:  	Hill-Rom Nurse Call System Interruption for all units with Hill-Rom Nurse Call System

DATE:     	March 2023

On Wednesday March 15, 2023, from 5:30AM until 7:00AM there will be an IMT server maintenance for the Hill-Rom nurse call system. It is critical to note that during this update that ALL tones and lights will continue to operate as usual on each nursing unit; however, there will be the following impact/interruptions:

- CODE BLUE/ CODE WHITE alarms will NOT be delivered to Connexall, will NOT annunciate on VOCERA badges, and will NOT report to the operator.

- Other Hill-Rom alarms (bed exit or patient request/nurse call) will NOT alert VOCERA badges.

- At nurses’ stations, the following alarms will appear; “Lost Central Server” and “Lost VoIP Server”. These alarms will clear once the update is complete. If the alarms do not clear, contact  the Maintenance Operations Center at  4-4230.

*** As a reminder to staff, it is standard policy (CME-15) to call the operator (4-4444) for ALL CODE BLUE/CODE WHITE events in addition to pulling the code lever.  It is especially important to do so during this interruption. ***

This update only affects the Hill-Rom nurse call system.

If you have any questions or require clarification of this notice, please contact Stu Hatzinger at extension 4-8923.