UPSTATE PHYSICAL PLANT
NOTIFICATION
	Notification Type:
	Choose an item.
 ☒Other: _____HVAC Shutdown_____________________

	Utility / Service Affected:
	HVAC
 ☐Other: __________________________

	Subject:
	AHU-Roof and HWS/CHS Services


To support: This work is to support the Gamma Knife Renovation.  

Please review the details below:
	Date:
	9/14/2026
	Time(s):
	1400-2200

	Location:
	GAMMA Knife Changing Room 108

	Affected Areas / Equipment
(Room, Equipment ID, etc.):
	Entire Gamma Knife Area

	Impact (What will be interrupted
and what will remain operational):
	Shutdown AHU for isolation caps in the ductwork.  Shutdown HWS/CHS for phasing isolations.

If the HWS/CHS isolation valves don’t leak by, there will be no impact to building operations.  The AHU will need to be off while working on the duct to minimize dust.

	Note:
	


Questions or Concerns
If you have any questions or concerns, please contact:
	Name: Tim Young
Department: Design and Construction
Phone: 315.518.9498
Email: youngt@upstate.edu
	Name: Dave Hazzard
Department: RJO
Phone: 315.567.8186
Email: DHazzard@rjorrtlieb.com


Thank you for your cooperation and understanding while this work is being completed.
