UPSTATE PHYSICAL PLANT

NOTIFICATION

| Notification Type: | Choose an item. ☒Other: _____HVAC Shutdown_____________________ |
| --- | --- |
| Utility / Service Affected: | HVAC ☐Other: __________________________ |
| Subject: | AHU-Roof and HWS/CHS Services |

To support: This work is to support the Gamma Knife Renovation.

Please review the details below:

| Date: | 9/14/2026 |
| --- | --- |
| Time(s): | 1400-2200 |
| Location: | GAMMA Knife Changing Room 108 |
| Affected Areas / Equipment (Room, Equipment ID, etc.): | Entire Gamma Knife Area |
| Impact (What will be interrupted and what will remain operational): | Shutdown AHU for isolation caps in the ductwork. Shutdown HWS/CHS for phasing isolations. If the HWS/CHS isolation valves don’t leak by, there will be no impact to building operations. The AHU will need to be off while working on the duct to minimize dust. |
| Note: |  |

Questions or Concerns

If you have any questions or concerns, please contact:

| Name: Tim Young Department: Design and Construction Phone: 315.518.9498 Email: youngt@upstate.edu | Name: Dave Hazzard Department: RJO Phone: 315.567.8186 Email: DHazzard@rjorrtlieb.com |
| --- | --- |

Thank you for your cooperation and understanding while this work is being completed.