ELECTRICAL POWER INTERUPTION NOTICE FOR

IHP & IHP Expansion

TO:          	All Departments with Space in IHP & IHP Exp.

SUBJECT:  	Electrical Power Interruption Notice for the IHP & IHP Expansion

TODAY’S DATE:     	Monday 28 April, 2025

On Tuesday29 April, 2025 between the hours of 5:30 am and 6:00 am there will be an electrical power interruption to IHP and IHP Expansion while we switch from Temple 52 back to Temple 42 to our normal lineup after completion of National Grid repair work.

All building services will see the power interruption during switching.

This is what you can expect to happen;

Switching for this will occur between the hours of 5:30am and 6:00am.

- Normal power will see a brief power outage while we switch to the alternate feed.

- Emergency power will be available while we conduct switching

All sensitive equipment should be powered off during this time

Hospital and other Campus buildings will not be affected by this repair work.

If you have any questions or require clarification of this notice, please contact Fred Rhinehardt at (315) 464-7384.