TO:

All departments with space in Jacobsen Hall, Campus Activities Building & Clark Hall
DATE:

February 2026
SUBJECT:
Generator Test: Jacobsen Hall, Clark Tower, and Campus Activities Building

The next monthly test is scheduled for Friday, February 20, 2026.
The test, although intended to simulate an actual power outage, has been modified to keep the disruption to services at a minimum.  If an actual power outage occurs, the electrical circuits supported by the generator will be without power for 5 to 10 seconds except for those areas which have their own uninterruptible power supplies.  Our recent experience suggests that a real power outage can be expected once a year.  If you have equipment, processes, etc. that cannot cope with a power outage of this duration, your department should consider installing uninterruptible power supplies (UPS's).
THE JACOBSEN HALL TEST PROCEDURES ARE AS FOLLOWS:
· The emergency generator will be started between 5:00AM and 5:05AM and will be used as the source for emergency power for approximately 30 minutes.

· The emergency power will be switched back to normal between 5:30AM and 5:35AM when the generator turns off.

· Emergency outlets (red) and emergency lights will blink when the test starts and again when it ends.
THE CLARK TOWER PROCEDURES ARE AS FOLLOWS:
· The emergency generator will be started between 6:00AM and 6:05AM and will be used as the source for emergency power for approximately 30 minutes.

· The emergency power will be switched back to normal between 6:30AM and 6:35AM when the generator turns off.

· Emergency outlets (red) and emergency lights will blink when the test starts and again when it ends.

THE CAMPUS ACTIVITIES BUILDING TEST PROCEDURES ARE AS FOLLOWS:
· The emergency generator will be started between 6:45AM and 6:50AM and will be used as the source for emergency power for approximately 30 minutes.

· The emergency power will be switched back to normal between 7:15AM and 7:20AM when the generator turns off.

· Emergency outlets (red) and emergency lights will blink when the test starts and again when it ends.

If you have any questions or concerns regarding the test or the emergency power system, please feel free to contact Marc Dingle, Electrical Facilities Manager at 4-8923 or 680-323-1819
Your continued cooperation in completing the code mandated emergency diesel generator test is greatly appreciated.

Thank you.

Reviewed 3-23-21

