UPSTATE PHYSICAL PLANT NOTIFICATION 
Notification Type: Planned Outage
    	☐Other: 

Utility / Service Affected: Electrical
☐Other: 

Subject: The  WHA  electrical  upgrades

To support:  a planned: will be performed. Power Outage 

Please review the details below: 

Date: 8/27/2026 
Time(s): 6:30 AM ---10:30 AM

Location:  Sub-basement WHA

Affected Areas / Equipment (Room, Equipment ID, etc.): Open breaker in EMDB to de-energize ATS-2 to install new lugs on ATS-2 breaker.
Contractor will also be investigating  future breaker replacement in panel EMDB with possible replacement.


Impact (What will be interrupted, what will remain operational): 
The outage will last 4 hours 
Red and white outlets will continue to have power. In the unlikely event that both normal feeds from National grid were lost, work would be stopped and emergency power restored to all affected outlets.



Note: Start circuit on generator will need to be shutdown while contractor is in panel EMDB.


Questions or Concerns 
If you have any questions or concerns, please contact: 

	Name:  John Ders
Department:  Design & Construction 
Phone:  315-243-5974
Email: dersj@upstate.edu 
	Name:  
Department:  
Phone:  
Email:  



Thank you for your cooperation and understanding while this work is being completed. 
