UPSTATE PHYSICAL PLANT

NOTIFICATION

| Notification Type: | Service Interruption ☐Other: __________________________ |
| --- | --- |
| Utility / Service Affected: | Electrical ☐Other: __________________________ |
| Subject: | Electrical Switching |

To support: National Grid Infrastructure Improvements

| Date: | 9/8/2026 |
| --- | --- |
| Time(s): | 0400 -0600 |
| Location: | Cancer Center – West Garage – 550 Harrison - Nappi |
| Affected Areas / Equipment (Room, Equipment ID, etc.): | To service the equipment owned by National Grid. They have asked that ALL loads be removed from Temple 59. The above listed buildings will be affected. They will all see a power blip between the hours of 0400 and 0600 from switching. Once the work is completed. Another Notice will be sent out to return to normal. |
| Impact (What will be interrupted and what will remain operational): | The buildings will have a momentary loss of power during switching. Power will be restored within minutes. The West garage will be on generator power for the duration and most of the morning. |
| Note: | All Buildings other than the West Garage will be on a normal power source by 0600 |

Questions or Concerns

If you have any questions or concerns, please contact:

| Name: | Marc Dingle | Name: |  |
| --- | --- | --- | --- |
| Department: | Physical Plant | Department: |  |
| Phone: | 680-323-1819 | Phone: |  |
| Email: | dinglem@upstate.edu | Email: |  |

Thank you for your cooperation and understanding while this work is being completed.