TO:		All Departments with space in CAB, and Building 49

- FROM:	Robert Lotkowictz

Director of

Physical Plant Services

DATE:		January 15, 2020

SUBJECT:	Generator Test: Campus Activities Bldg, and Building 49

The next monthly test is scheduled for Tuesday, January 21st, 2020.

- THE CAMPUS ACTIVITIES BLDG. TEST PROCEDURES IS AS FOLLOWS:

- The emergency generator will be started between 7:00 a.m. and 7:05 a.m., and will be used as the source for emergency power for approximately 30 minutes.

- The emergency power will be switched back to normal between 7:30 a.m. and 7:35 a.m. when the generator turns off.

- Emergency outlets (Red outlets) and emergency lights will blink when the test starts and again when it ends.

- BUILDING 49 TEST PROCEDURES IS AS FOLLOWS:

- 1.	The emergency generator will be started between 9:30 a.m. and 9:35 a.m., and will be 	used as the source for emergency power for approximately 30 minutes.

- The emergency power will be switched back to normal between 10:00 a.m. and 10:05 a.m. when the generator turns off.

- Emergency outlets (Red outlets) and emergency lights will blink when the test starts and again when it ends.

The test, although intended to simulate an actual power outage, has been modified to keep the disruption to services at a minimum.  If an actual power outage occurs, the electrical circuits supported by the generator will be without power for 5 to 10 seconds with the exception of those areas which have their own uninterruptible power supplies.  Our recent experience suggests that a real power outage can be expected once a year.

If you have any questions or concerns regarding the test or the emergency power system, please feel free to contact Aaron Petty, Facilities Electrical Manager, Physical Plant at extension 47386.

Your continued cooperation in completing the code mandated emergency diesel generator test is greatly appreciated.

- Thank you.

- RL