UPSTATE PHYSICAL PLANT

NOTIFICATION

| Notification Type: | Service Interruption ☐Other: __________________________ |
| --- | --- |
| Utility / Service Affected: | Electrical ☐Other: __________________________ |
| Subject: | Unplanned Outage to Support National Grid Work |

To support: Unplanned outage to Support National Grid Work

Please review the details below:

| Date: | 8/14/2026 |
| --- | --- |
| Time(s): | 08:00 |
| Location: | TU3/4/7 |
| Affected Areas / Equipment (Room, Equipment ID, etc.): | All buildings. |
| Impact (What will be interrupted and what will remain operational): | We had a momentary loss of normal power to TU3/4 and 7. Pre planned internal switching by Hutchings was thought to have prevented this. |
| Note: |  |

Questions or Concerns

If you have any questions or concerns, please contact:

| Name: Larry Blanchard Department: Physical Plant Phone4-7371 Email: blanchal@upstate.edu | Name: Department: Phone: Email: |
| --- | --- |

Thank you for your cooperation and understanding while this work is being completed.