ELECTRICAL POWER NOTICE FOR

UH, CWB, GAMMA KNIFE, WEISKOTTEN HALL, and SETNOR

TO:	All Departments with Space in UH, CWB, Gamma Knife, Weiskotten Hall, and Setnor

SUBJECT:	Electric Power Interruptions UH, CWB, Gamma Knife, Weiskotten Hall, and Setnor. 5:00 am to 6:00 am - Wednesday, September 7, 2022

DATE:		August 31, 2022

In order to perform preventive maintenance on our Substation, one of our Banks feeding the buildings listed below will be switched off-line. We will be conducting switching to building feeds listed below between the hours of 5:00 am to 6:00 am. This will cause power loss for 1 to 60 seconds while we do the switch. Emergency power circuits will see a loss similar to generator testing.

This is what you can expect to happen starting at 5:00 a.m.

UH, CWB and Gamma Knife; Will experience a loss of some of your normal power circuits for 1 to 60 seconds while we conduct switching. Emergency power circuits will see a loss similar to monthly generator testing.

Weiskotten Hall, and Setnor; Some of the normal power circuits will lose power for 1-10 seconds while we conduct switching. Emergency power will see a loss similar to monthly generator testing.

Please turn down (low fan speed and warmer thermostat settings) all non-patient care/research window air conditioners and any other unnecessary administrative power users (computers, coffee pots, etc.) for the day.  This helps limit the amount of electrical loading that has to be switched and served by each building’s alternate system.

Other buildings (East Wing, East Tower Cancer Center, and other campus buildings) are not affected.

If you have any questions, please contact Aaron Petty, of Physical Plant, at 315-956-9056