TO:		All Departments with space in Upstate Medical University Parking Garage East and West

DATE:		December 2022

SUBJECT:	Generator Test: Upstate Medical University Parking Garage East and

Parking Garage (West),

The next monthly test is scheduled for Tuesday, December 20, 2022.

The test, although intended to simulate an actual power outage, has been modified to keep the disruption to services at a minimum.  If an actual power outage occurs, the electrical circuits supported by the generator will be without power for 5 to 10 seconds with the exception of those areas which have their own uninterruptible power supplies.  Our recent experience suggests that a real power outage can be expected once a year.  If you have equipment, processes, etc. that cannot cope with a power outage of this duration, your department should consider installing uninterruptible power supplies (UPS's).

- THE PARKING GARAGE WEST TEST PROCEDURES IS AS FOLLOWS:

- The emergency generator will be started between 7:00 a.m. and 7:05 a.m., and will be used as the source for emergency power for approximately 30 minutes.

- The emergency power will be switched back to normal between 7:30 a.m. and 7:35 a.m. when the generator turns off.

- Emergency outlets (Red outlets) and emergency lights will blink when the test starts and again when it ends.

- PARKING GARAGE EAST TEST PROCEDURES IS AS FOLLOWS:

- The emergency generator will be started between 8:00 a.m. and 8:05 a.m., and will be used as the source for emergency power for approximately 30 minutes.

- The emergency power will be switched back to normal between 8:30 a.m. and 8:35 a.m. when the generator turns off.

- Emergency outlets (Red outlets) and emergency lights will blink when the test starts and again when it ends.

If you have any questions or concerns regarding the test or the emergency power system, please feel free to contact Aaron Petty, Facilities Electrical Manager, Physical Plant at extension 47386.

Your continued cooperation in completing the code mandated emergency diesel generator test is greatly appreciated.

- Thank you.