UPSTATE PHYSICAL PLANT
NOTIFICATION
	Notification Type:
	Planned Outage
 ☐Other: __________________________

	Utility / Service Affected:
	Electrical
 ☐Other: __________________________

	Subject:
	To support the WHA electrical upgrades]


To support: ATS 1 revisions
Please review the details below:
	Date:
	9/8/2026
	Time(s):
	6:30 AM — to 16:30 PM

	Location:
	WHA

	Affected Areas / Equipment
(Room, Equipment ID, etc.):
	Red ELPS outlets on south end of WHA toward the VA, south of the elevators.

THERE WILL BE NO LOSS OF EMERGENCY POWER DUE TO THE GENERATOR RUNNING BUT THERE WILL BE MOMENTARY INTERRPTIONS WHILE SWITCHING TO AND FROM GENERATOR POWER





	Impact (What will be interrupted
and what will remain operational):
	 There will be no loss of emergency power because the generator will run while the normal feeder is replaced.

	Note:
	Check your equipment.


Questions or Concerns
If you have any questions or concerns, please contact:
	Name:
	John Ders
	Name:
	

	Department:
	Design & Construction
	Department:
	

	Phone:
	315-243-5974
	Phone:
	

	Email:
	dersj@upstate.edu
	Email:
	


Thank you for your cooperation and understanding while this work is being completed.
