UPSTATE PHYSICAL PLANT
NOTIFICATION
	Notification Type:
	Planned Outage
 ☐Other: __________________________

	Utility / Service Affected:
	Electrical
 ☐Other: __________________________

	Subject:
	R710 and R720 Power Outage at Weiskotten Hall 


To support: DLAR Project
	Date:
	9/11/2026
	Time(s):
	2200 - 0600

	Location:
	Weiskotten Hall Sub basement

	Affected Areas / Equipment
(Room, Equipment ID, etc.):
	NE Wing of Weiskotten Hall – Setnor  

HVAC Equipment and ALL Normal Power will be off during this time. Meaning Lights, receptacles in All areas of the N+E Wing and Setnor Buildings. Fans fs-4 fs-5 will be off limiting ventilation in some areas. Any equipment not plugged into a RED Emergency outlet. All identified equipment that needs emergency power will be transitioned in advance.  




	Impact (What will be interrupted
and what will remain operational):
	During this time. R710 will be opened. R720 will be opened for 1 hr. the Tie breaker will be removed and 720 will be closed to restore power to essential HVAC equipment and Setnor. Then upon the completion of maintenance of the TIE Breaker R720 will be opened for 1 hr. and then closed. R710 will remain open. Temporary power will feed R710 equipment during this time.  

	Note:
	There will be a continuation of this shutdown for R710 through 1800 Saturday 09/12/26.


Questions or Concerns
If you have any questions or concerns, please contact:
	Name:
	Marc Dingle 
	Name:
	Ryan Clifford

	Department:
	Physical Plant
	Department:
	Design & Construction

	Phone:
	680-323-1819
	Phone:
	315-663-1856

	Email:
	dinglem@upstate.edu
	Email:
	ClifforR@upstate.edu


Thank you for your cooperation and understanding while this work is being completed.
