UPSTATE PHYSICAL PLANT
NOTIFICATION
	Notification Type:
	Planned Outage
 ☐Other: __________________________

	Utility / Service Affected:
	Electrical
 ☐Other: __________________________

	Subject:
	R710 Power Outage at Weiskotten Hall 


To support: DLAR Project
	Date:
	9/12/2026
	Time(s):
	0600 – 1800 

	Location:
	Weiskotten Hall Sub basement

	Affected Areas / Equipment
(Room, Equipment ID, etc.):
	NE Wing of Weiskotten Hall 
HVAC Equipment and ALL Normal Power will be off during this time. Meaning Lights, receptacles in All areas of the N+E Wing and Setnor Buildings. Fans fs-4 fs-5 be off causing reduced ventilation in several areas. Any equipment not plugged into a RED Emergency outlet. All identified equipment that needs emergency power will be transitioned in advance.  





	Impact (What will be interrupted
and what will remain operational):
	During this time. R710 will be de-energized. All essential equipment will be fed by temporary power. R710 will remain de-energized for the duration of the separate shutdowns. This will ensure the safety of personnel working on the DLAR electrical upgrades.  

	Note:
	This is a continuation of the shutdown for R710 from 09/11/26. Normal Power will be restored around 1800 on 09/12/26


Questions or Concerns
If you have any questions or concerns, please contact:
	Name:
	Marc Dingle 
	Name:
	Ryan Clifford

	Department:
	Physical Plant
	Department:
	Design & Construction

	Phone:
	680-323-1819
	Phone:
	315-663-1856

	Email:
	dinglem@upstate.edu
	Email:
	clifforR@upstate.edu


Thank you for your cooperation and understanding while this work is being completed.
