UPSTATE PHYSICAL PLANT
NOTIFICATION
	Notification Type:
	Planned Outage
 ☐Other: __________________________

	Utility / Service Affected:
	Electrical
 ☐Other: __________________________

	Subject:
	Loss of normal power outlets to support the WHA electrical upgrades


To support: Contractor is changing feeder wires to building normal lighting panels.
Please review the details below:
	Date:
	10/12/2026
	Time(s):
	0630 to 0930

	Location:
	WHA

	Affected Areas / Equipment
(Room, Equipment ID, etc.):
	Normal power will be shutdown in all of WHA on 10/12/2026 so that the contractor can remove the temporary feed to the new 120/208 V switch gear and install the permeant feed.



	Impact (What will be interrupted
and what will remain operational):
	
There will be no loss of Emergency Power outlets
Lighting will not be affected

	Note:
	


Questions or Concerns
If you have any questions or concerns, please contact:
	Name:
	John Ders
	Name:
	

	Department:
	Design & Construction
	Department:
	

	Phone:
	315-243-5974
	Phone:
	

	Email:
	dersj@upstate.edu
	Email:
	


Thank you for your cooperation and understanding while this work is being completed.
