UPSTATE PHYSICAL PLANT

NOTIFICATION

| Notification Type: | Planned Outage ☐Other: __________________________ |
| --- | --- |
| Utility / Service Affected: | Electrical ☐Other: __________________________ |
| Subject: | R710 Power Outage at Weiskotten Hall |

To support: DLAR Project

| Date: | 9/12/2026 |
| --- | --- |
| Time(s): | 0600 – 1800 |
| Location: | Weiskotten Hall Sub basement |
| Affected Areas / Equipment (Room, Equipment ID, etc.): | NE Wing of Weiskotten Hall HVAC Equipment and ALL Normal Power will be off during this time. Meaning Lights, receptacles in All areas of the N+E Wing and Setnor Buildings. Fans fs-4 fs-5 be off causing reduced ventilation in several areas. Any equipment not plugged into a RED Emergency outlet. All identified equipment that needs emergency power will be transitioned in advance. |
| Impact (What will be interrupted and what will remain operational): | During this time. R710 will be de-energized. All essential equipment will be fed by temporary power. R710 will remain de-energized for the duration of the separate shutdowns. This will ensure the safety of personnel working on the DLAR electrical upgrades. |
| Note: | This is a continuation of the shutdown for R710 from 09/11/26. Normal Power will be restored around 1800 on 09/12/26 |

Questions or Concerns

If you have any questions or concerns, please contact:

| Name: | Marc Dingle | Name: | Ryan Clifford |
| --- | --- | --- | --- |
| Department: | Physical Plant | Department: | Design & Construction |
| Phone: | 680-323-1819 | Phone: | 315-663-1856 |
| Email: | dinglem@upstate.edu | Email: | clifforR@upstate.edu |

Thank you for your cooperation and understanding while this work is being completed.