UPSTATE PHYSICAL PLANT

NOTIFICATION

| Notification Type: | Planned Outage ☐Other: __________________________ |
| --- | --- |
| Utility / Service Affected: | Electrical ☐Other: __________________________ |
| Subject: | Reduced normal lighting to support the WHA electrical upgrades |

To support: Contractor is changing feeder wires to building normal lighting panels.

Please review the details below:

| Date: | 10/6/2026 |
| --- | --- |
| Time(s): | 0630 to 1430 |
| Location: | WHA |
| Affected Areas / Equipment (Room, Equipment ID, etc.): | Floors 3,4,5 will see a loss of normal power to the building lights for 8 hours. This will allow the contractor to remove the temp panels outside electric rooms back into the rooms on new feeders and equipment. |
| Impact (What will be interrupted and what will remain operational): | Lighting will be reduced. There will be no loss of normal power (outlets). There will be emergency lighting. There will be no loss of Emergency power. |
| Note: |  |

Questions or Concerns

If you have any questions or concerns, please contact:

| Name: | John Ders | Name: |  |
| --- | --- | --- | --- |
| Department: | Design & Construction | Department: |  |
| Phone: | 315-243-5974 | Phone: |  |
| Email: | dersj@upstate.edu | Email: |  |

Thank you for your cooperation and understanding while this work is being completed.